## Sheet1
Generated file by QChecklists
https://www.quollnet.com/checklist
Fire Alarm and Suppression Systems Commissioning Inspection Checklist
Interactive checklist for fire alarm and suppression systems commissioning. Tick, comment, and export as PDF/Excel for compliance and safety assurance.
Project:
| Filled by: |  | Date:
Initial Inspection
1 | Verify the installation of fire alarm control panels and ensure they are accessible.
2 | Confirm that all detectors are installed in compliance with design specifications.
3 | Check that alarm sounders are appropriately located and audible in all areas.
System Testing
4 | Conduct a full system test to ensure detectors trigger alarms correctly.
5 | Simulate fire conditions to verify suppression system activation.
6 | Test the integration between the fire alarm and suppression systems.
Verification
7 | Ensure all system components are certified and meet local codes and standards.
8 | Check system documentation, including design drawings and test certificates.
9 | Review maintenance and operation manuals for accuracy and completeness.
Functional Testing
10 | Verify the functionality of manual call points across the facility.
11 | Test emergency power supplies to ensure system operation during outages.
12 | Check the response time of alarms and suppression systems.
Final Inspection
13 | Ensure all non-compliance issues identified are rectified and documented.
14 | Conduct a final walk-through to confirm system readiness and operation.
15 | Sign off commissioning documents and obtain necessary approvals.
Comments
Filled by:
Signature:
Introduction |  |  | How to use this checklist
This checklist is designed for inspecting the commissioning of fire alarm and suppression systems, ensuring they are correctly installed, tested, and operational. It covers essential aspects such as equipment functionality, system integration, and compliance with safety standards. By following this checklist, inspectors can verify that all components work harmoniously, minimizing risks of system failure. Users can interact with this checklist online, adding comments, and exporting reports in PDF or Excel formats with a QR code for authenticity. |  |  | 1. Gather necessary tools and documents including design plans, installation manuals, and testing equipment. 2. Click the “Use this checklist” or "Start Interactive Checklist" button to launch interactive mode. 3. Tick each item online as you complete it. 4. Add comments on individual items or the entire checklist. 5. Click Share or Download to download your completed checklist as PDF or Excel. 6. Review, share, and archive the final report with stakeholders, using QR code authentication for security and traceability.